CyberTowers

Bridge — Setup on a New Laptop

Simple step-by-step guide

Unzip the Bridge folder, configure it, and connect it to the web application

Bluesprings AI

Version 1.0  ·  June 2026

# Table of Contents

# Before You Start (Please Read)

This guide is for setting up the Bridge on a NEW laptop using the zip file you received. Follow the steps in order. You do NOT need any programming knowledge.

Good news: the Bridge is "ready-to-run". You do NOT need to install .NET, and you do NOT need to install the TimeWatch SDK — everything is already inside the folder.

YOU WILL NEED: (1) The Bridge zip file. (2) The web application already set up on this laptop or reachable on the network (the dashboard + its database). (3) The database password. (4) About 15 minutes.

# Step 1 — Unzip the Folder

- Copy the zip file (for example CyberTowers.Bridge.zip) to the new laptop.

- Right-click it and choose Extract All.

- Extract it so the final folder is exactly:

E:\CyberTowers.Bridge

VERY IMPORTANT: Use the exact path E:\CyberTowers.Bridge. The start button (Step 4) is set to look there. If that drive/path does not exist on the laptop, see the note at the end of Step 4.

After extracting, you should see these inside E:\CyberTowers.Bridge:

- a folder named bin (this holds the program)

- a folder named SDK (the controller files)

- a file named Start-Bridge.bat (the start button)

# Step 2 — Make Sure the Web Application Is Running

The Bridge needs the web application and its database to be running first. The Bridge alone does nothing without them.

- Start the web application (double-click "Bluesprings MyAccess.vbs", or however it is started on this laptop).

- Open a browser and confirm the dashboard opens, usually at:

http://localhost:5000

- Leave it running.

IF THE WEB APP IS ON A DIFFERENT COMPUTER: That is fine — just note down that computer's IP address. You will use it in Step 3 instead of "localhost"/"127.0.0.1".

# Step 3 — Set the Connection Details

This is the only file you need to edit. It tells the Bridge where the database and web application are.

- Open this file with Notepad:

E:\CyberTowers.Bridge\bin\publish\appsettings.json

- Find these lines and set the correct values:

"BackendApiBaseUrl": "http://localhost:5000", ... "ConnectionString": "Host=127.0.0.1;Port=5432;Database=cybertowers_access;Username=postgres;Password=YOUR_DB_PASSWORD"

- Replace YOUR_DB_PASSWORD with the real PostgreSQL password.

- Save the file (File -> Save) and close Notepad.

## What to put for the addresses

| Situation | BackendApiBaseUrl | Host in ConnectionString |
| --- | --- | --- |
| Web app + database on THIS laptop | http://localhost:5000 | 127.0.0.1 |
| Web app + database on ANOTHER computer | http://THAT-IP:5000 | THAT-IP |

TWO RULES THAT MATTER: (1) In the database line always use 127.0.0.1 (NOT the word "localhost") when it is the same laptop. (2) Do not change any other lines.

# Step 4 — Start the Bridge

- Go to the folder E:\CyberTowers.Bridge.

- Double-click Start-Bridge.bat.

- A small black window appears for a few seconds and then closes by itself. That is normal — the Bridge is now running quietly in the background.

DO NOT double-click CyberTowers.Bridge.exe directly. Always use Start-Bridge.bat. Running the .exe directly can show a "Debug Assertion Failed" popup. The .bat avoids it.

## If you could not use the E:\CyberTowers.Bridge path

If you had to extract to a different drive or folder, open Start-Bridge.bat with Notepad (right-click -> Edit) and change every "E:\CyberTowers.Bridge" to the folder where you actually extracted it, then save.

# Step 5 — Check That It Is Working

Open this file with Notepad to see the live status:

E:\CyberTowers.Bridge\bin\publish\console-out.txt

If you see lines like these, the Bridge started correctly:

TimeWatch SDK initialised successfully Loaded N active controller(s) from database EventProcessorWorker started ControllerMonitorWorker started - monitoring N controllers

You can also open the dashboard -> Bridge Monitor tab to see the Bridge status.

# Step 6 — Connect a Controller

Now tell the system which physical door controller(s) exist. The Bridge will then connect to them automatically.

- In the dashboard, go to Configuration -> Controllers -> Add Controller.

- Enter the controller details: Serial Number, IP Address, TCP port, UDP port, and Password.

- Click Save.

- Within about 30 seconds the controller shows as Online in the Controllers tab and in Bridge Monitor.

- Add cards and click Push / Sync All to send them to the controller. Live scans then appear in the Events tab.

CONTROLLER STAYS OFFLINE? Check the IP address and password are correct, and that the controller is powered on and on the same network as this laptop.

# Step 7 — What To Do After a Restart

The Bridge does not start by itself after the laptop reboots. Each time the laptop is restarted, do these two simple things:

- Start the web application (Bluesprings MyAccess.vbs).

- Double-click E:\CyberTowers.Bridge\Start-Bridge.bat.

That is all. (PostgreSQL starts on its own.)

WANT IT FULLY AUTOMATIC? The Bridge can be installed as a Windows service so it starts on every boot with no manual step. Ask your technical contact to run the one-time service-install command. After that, you can skip Step 7 for the Bridge.

# Important Do’s and Don’ts

| Do | Don’t |
| --- | --- |
| Keep the whole E:\CyberTowers.Bridge folder together | Don’t move or delete files from inside bin\publish |
| Start with Start-Bridge.bat | Don’t double-click CyberTowers.Bridge.exe |
| Edit only appsettings.json | Don’t delete the SDK folder or any .dll files |
| Keep the original SDK zip as a backup | Don’t rename the folder unless you also edit Start-Bridge.bat |

# Quick Checklist

- Unzip to E:\CyberTowers.Bridge

- Web application running (dashboard opens at http://localhost:5000)

- Edit appsettings.json — set the database password (and addresses if remote)

- Double-click Start-Bridge.bat

- Check console-out.txt shows "SDK initialised" and "Worker started"

- Add the controller in the dashboard and confirm it goes Online

— End of Guide —